Breast Cancer Mammogram Classification and Segmentation Supported By LLM Generated Report

Prepared By

Name: Moayad Khayat                                ID No.: 261002503

Name: Fares Ashraf			               ID No.: 221000769

Submitted in fulfillment of the requirements for the degree Master of Science in Artificial Intelligence

At

College of Informatics

Midocean University

UAE

Supervisor Name: Dr. Mohamed Eassa

College of Informatics, Midocean University, Comoros

# Acknowledgements

We would like to thank our supervisor, Dr. Mohamed Essa, for his continuous guidance and valuable feedback throughout this research. His expertise in both artificial intelligence and galaxy studies has greatly influenced the direction of this work. His comments challenged us to think more critically and approach the research from a scientific perspective rather than a purely technical one.

We are also thankful to the faculty members at the College of Informatics, Midocean University, for providing a supportive academic environment that inspired independent thinking and research development.

Finally, we would like to express our appreciation to our families for their patience, encouragement, and support during this journey.

# Abstract

Breast cancer remains the most frequently diagnosed malignancy among women worldwide, and mammography screening is the primary method for early detection. While deep learning models have reached high accuracy on mammogram classification and tumor segmentation tasks individually, the clinical workflow still requires a radiologist to interpret imaging outputs, determine the cancer type and stage, and write a structured diagnostic report. These steps are time-consuming and subject to inter-observer variability.

This thesis proposes a two-stage pipeline that automates the full path from raw mammogram input to structured clinical report output. In the first stage, a deep learning model classifies mammographic findings (benign versus malignant, cancer subtype) and segments tumor regions within the image. In the second stage, the classification label, segmentation mask, and extracted imaging features are passed as structured input to MedGemma, a medical vision-language foundation model developed by Google. Through prompt engineering, including system prompting, few-shot examples, and chain-of-thought reasoning, MedGemma generates a clinical report that describes the cancer type, estimated stage based on available imaging features, lesion morphology, and recommended follow-up actions.

The system is evaluated on publicly available mammography datasets, including the Curated Breast Imaging Subset of the Digital Database for Screening Mammography (CBIS-DDSM) and VinDr-Mammo. Classification and segmentation performance is measured using standard metrics (accuracy, F1-score, Dice coefficient, IoU). Report quality is assessed through both automated metrics (BLEU, ROUGE-L) and clinical accuracy evaluation against radiologist-written reference reports. The primary objectives of this research are to build the classification and segmentation pipeline, to develop and evaluate prompt engineering strategies for MedGemma-based report generation, and to assess the clinical usefulness of the generated reports. This work contributes a reproducible, end-to-end framework that connects imaging analysis to natural language reporting without requiring model fine-tuning, relying instead on carefully designed prompts to extract clinical reasoning from an off-the-shelf medical foundation model.

Contents

Acknowledgements	2

Abstract	3

List of Abbreviations	5

List of figures	7

Chapter 1: Introduction	1

1.1 Overview	1

1.2 Problem Definition	2

1.3 Thesis Objectives	3

1.4 Thesis Contribution	4

1.5 Thesis Organization	4

Chapter 2: Theoretical Background and Related Work	5

2.1 Introduction	5

2.2 Background	6

2.2.1 Breast Cancer and Mammographic Imaging	6

2.2.2 Deep Learning for Medical Image Classification 	7

2.2.3 Medical Image Segmentation 	9

2.2.4 Vision-Language Models And Medical AI	10

2.2.5 Prompt Engineering For Medical AI 	11

2.2.6 Automated Radiology Report Generation 	13

2.2.7 MedGemma 	14

2.2.8 Mammography Dataset : CBIS-DDSM And VinDr-Mammo……………………….16

2.3 Related Work …………………………………………………………………………….17

2.4Related Work Summary and Gap Analysis	24

# List of Abbreviations

- AI: Artificial Intelligence

- AUC: Area Under the Curve

- BI-RADS: Breast Imaging Reporting and Data System

- BLEU: Bilingual Evaluation Understudy

- CAD: Computer-Aided Detection/Diagnosis

- CBIS-DDSM: Curated Breast Imaging Subset of DDSM

- CLAHE: Contrast Limited Adaptive Histogram Equalization

- CNN: Convolutional Neural Network

- CoT: Chain-of-Thought

- DCIS: Ductal Carcinoma In Situ

- DL: Deep Learning

- DSC: Dice Similarity Coefficient

- FFDM: Full-Field Digital Mammography

- Grad-CAM: Gradient-weighted Class Activation Mapping

- IDC: Invasive Ductal Carcinoma

- ILC: Invasive Lobular Carcinoma

- IoU: Intersection over Union

- LLM: Large Language Model

- ML: Machine Learning

- NLP: Natural Language Processing

- ROUGE: Recall-Oriented Understudy for Gisting Evaluation

- TNM: Tumor-Node-Metastasis

- ViT: Vision Transformer

- VLM: Vision-Language Model

# List of figures

- Figure 2.1: Overview of the proposed two-stage pipeline: deep learning classification and segmentation followed by MedGemma prompt-engineered report generation.

- Figure 2.2: Schematic representation of the U-Net segmentation architecture for mammographic lesion delineation.

- Figure 2.3: Comparison of prompt engineering strategies (zero-shot, few-shot, chain-of-thought) applied to MedGemma for clinical report generation.

- Table 2.1: Comparison of related studies in mammogram AI classification, segmentation, and automated report generation.

# Chapter 1: Introduction

## 1.1 Overview

Breast cancer is the most commonly diagnosed cancer worldwide. According to the World Health Organization, 2.3 million new cases were recorded in 2022 alone, and early detection through screening mammography remains the most effective strategy for reducing mortality [1]. A screening mammogram can identify tumors before they become palpable, but interpreting mammographic images and producing a clinical report requires trained radiologists who are in short supply across most healthcare systems. The average radiologist reads between 40 and 100 mammograms per day, and studies have consistently shown that inter-reader agreement on BI-RADS classification varies between 60% and 80%, depending on lesion complexity [2, 3].

Deep learning has transformed medical image analysis over the past decade. Convolutional neural networks and their successors can now classify mammographic findings as benign or malignant with accuracy rates exceeding 90% on standard benchmarks [4]. Separately, segmentation models based on the U-Net architecture and its variants can delineate tumor boundaries with Dice coefficients above 0.90 in controlled settings [5]. These results are promising, but they address only part of the clinical workflow. A classification label or a segmentation mask is not a clinical report. The radiologist still needs to describe the lesion morphology, assign a BI-RADS category, estimate the cancer stage based on available features, specify the cancer type if identifiable, and recommend next steps. That interpretive and communicative step is where most of the clinical time goes.

Recent advances in vision-language models (VLMs) have opened a new direction. Models like MedGemma, developed by Google and trained on large-scale medical imaging and text data, can process both visual and textual inputs and generate coherent clinical narratives [6]. Rather than fine-tuning these models, which requires substantial computational resources and annotated data, prompt engineering offers a lighter alternative. By designing the right combination of system instructions, structured input formatting, and reasoning prompts, a VLM can be guided to produce clinically useful outputs without any weight modification [7].

This thesis proposes a two-stage pipeline. The first stage uses a deep learning model to classify and segment mammographic images. The second stage feeds the classification results, segmentation outputs, and extracted features into MedGemma through engineered prompts to generate a structured clinical report. The report includes the cancer type, estimated stage based on available imaging features, lesion characteristics, and recommended actions. The goal is to automate the path from raw mammogram to written report, reducing radiologist workload and improving reporting consistency. [1, 2, 6, 7]

## 1.2 Problem Definition

Current AI research in breast cancer imaging addresses individual subtasks in isolation. Classification models assign a benign/malignant label. Segmentation models outline the lesion boundary. Report generation models, where they exist, have been developed primarily for chest X-rays and lack support for mammography-specific terminology and BI-RADS formatting [8]. No published system connects these three tasks in a single pipeline that takes a mammogram as input and produces a structured clinical report as output.

Three specific gaps define the problem addressed in this thesis:

First, the disconnect between image analysis and clinical communication. A segmentation mask showing a 2.3 cm spiculated mass in the upper outer quadrant of the left breast is clinically meaningless without a narrative that identifies the finding, classifies it, and recommends a course of action. Current systems stop at the image analysis stage.

Second, the absence of prompt engineering strategies tailored for mammography report generation. While prompt engineering has been explored for chest X-ray interpretation and general medical question answering, no study has systematically designed and evaluated prompts that guide a VLM to generate mammography-specific reports covering cancer type, stage, and lesion features [7, 9].

Third, the reliance on model fine-tuning for domain adaptation. Fine-tuning requires curated instruction datasets, GPU resources, and the risk of catastrophic forgetting. Prompt engineering avoids these costs and can be iteratively refined without retraining. Whether prompt engineering alone can produce clinically acceptable mammography reports from a foundation model like MedGemma remains an open question [6, 10].

## 1.3 Thesis Objectives

The primary objectives of this research are:

Develop and evaluate a fine-tuned multimodal AI agent that supports Tumor Board discussions by integrating various data sources. The specific objectives are as follows:

- Classify Mammograms: Develop a deep learning classification model that categorizes mammographic findings as benign or malignant and identifies the cancer subtype (e.g., invasive ductal carcinoma, invasive lobular carcinoma, ductal carcinoma in situ) where imaging features permit.

- Segment Tumors: Build a segmentation model based on the U-Net architecture (or a suitable variant) that delineates tumor boundaries in mammographic images with high spatial accuracy.

- Engineer Prompts: Design and evaluate multiple prompt engineering strategies (zero-shot, few-shot, chain-of-thought, and structured system prompting) to guide MedGemma in generating clinical reports from classification and segmentation outputs.

- Generate Reports: Produce structured clinical reports that include the cancer type, estimated stage based on available imaging features, lesion morphology description, BI-RADS category, and recommended follow-up actions.

- Evaluate End-to-End: Assess the full pipeline from raw mammogram to generated report using both computational metrics (accuracy, F1, Dice, IoU, BLEU, ROUGE-L) and clinical accuracy evaluation against radiologist-written reference reports.

## 1.4 Thesis Contribution

This research contributes across three domains:

- Technical Contributions: A two-stage pipeline architecture that connects deep learning image analysis to vision-language model report generation without requiring fine-tuning. A systematic comparison of prompt engineering strategies for mammography-specific clinical reporting with MedGemma.

- Clinical Contributions: An automated reporting framework that produces structured mammography reports covering cancer type, stage estimation, and lesion characteristics. The framework reduces the manual effort required from radiologists and provides a consistent report format.

- Research Contributions: A reproducible evaluation methodology for assessing the clinical accuracy of AI-generated mammography reports. A publicly documented set of prompt templates designed for MedGemma-based medical report generation, usable by other researchers as a starting point.

## 1.5 Thesis Organization

The rest of this thesis is organized as follows:

- Chapter 2 presents the theoretical background covering breast cancer imaging, deep learning classification and segmentation, vision-language models, prompt engineering, and automated report generation. It also reviews related work and identifies the research gaps that motivate the proposed approach.

- Chapter 3 describes the proposed methodology in detail, including the dataset preparation pipeline, the classification and segmentation model architectures, the prompt engineering strategy design, and the system integration.

- Chapter 4 presents the experimental results, evaluating classification accuracy, segmentation quality, and report generation performance against radiologist baselines.

- Chapter 5 concludes the thesis with a summary of findings, a discussion of limitations, and directions for future work.

# Chapter 2: Theoretical Background and Related Work

## 2.1 Introduction

This chapter provides the theoretical foundation and reviews prior research relevant to the two-stage pipeline proposed in this thesis. The pipeline combines mammogram image analysis (classification and segmentation) with automated clinical report generation via prompt engineering on a medical vision-language model.

The chapter covers three areas. The first is the clinical and technical background required to understand the problem: what mammographic imaging looks for, how breast cancer is classified, and what a clinical mammography report contains. The second is the computational machinery involved: convolutional neural networks for classification, U-Net architectures for segmentation, vision-language models for multimodal reasoning, and prompt engineering as a method for directing model behavior without weight modification. The third is a systematic review of prior work that has tackled parts of this problem, either mammogram classification, or segmentation, or report generation, but not all three together.

The chapter structure is as follows. Section 2.2 covers the background material. Section 2.3 reviews fourteen related studies, each examined for what it achieved and where it fell short. Section 2.4 synthesizes these findings into a gap analysis that directly motivates the proposed research.

Foundational work on medical vision-language models has established that combining imaging and text inputs produces more clinically useful outputs than either modality alone [11]. DOI: 10.1038/s41591-022-01981-2

## 2.2 Background

# 2.2.1 Breast Cancer and Mammographic Imaging

# Breast cancer originates from the uncontrolled growth of breast cells, most commonly in the ducts (invasive ductal carcinoma, IDC) or lobules (invasive lobular carcinoma, ILC). IDC accounts for approximately 70-80% of all breast cancer diagnoses, while ILC accounts for 10-15%. Pre-invasive forms, particularly ductal carcinoma in situ (DCIS), represent abnormal cell growth confined to the ducts that has not yet invaded surrounding tissue. The distinction between these types has direct clinical implications for treatment planning and prognosis [1].

# Mammography is the standard imaging modality for breast cancer screening and diagnosis. A standard screening examination includes two views of each breast: the craniocaudal (CC) view and the mediolateral oblique (MLO) view. Digital mammography (full-field digital mammography, FFDM) has largely replaced film-based systems in clinical practice, providing better contrast resolution and enabling computational analysis [2].

# The Breast Imaging Reporting and Data System (BI-RADS), maintained by the American College of Radiology, provides a standardized vocabulary for mammographic reporting. The BI-RADS lexicon defines descriptors for mass shape (round, oval, irregular), margin characteristics (circumscribed, obscured, microlobulated, indistinct, spiculated), and calcification morphology (amorphous, coarse heterogeneous, fine pleomorphic, fine linear). These descriptors feed into a final BI-RADS assessment category ranging from 0 (incomplete, needs additional imaging) through 6 (known biopsy-proven malignancy). The BI-RADS system was updated in 2025 with revised breast composition descriptors and expanded lexicon terms for ultrasound and MRI [3, 12].

# Cancer staging follows the TNM (Tumor-Node-Metastasis) system. Imaging alone cannot determine the complete TNM stage, since lymph node status and distant metastasis require additional clinical workup. However, mammographic findings can estimate tumor size (the T component) and identify features suggestive of locally advanced disease. A spiculated mass larger than 5 cm with skin retraction, for example, would be consistent with at least T3 staging. These imaging-derived features are the basis for the stage estimation component of the proposed report generation system [13].

# 2.2.2 Deep Learning for Medical Image Classification

# Image classification assigns a categorical label to an input image. In mammography, the classification task typically involves distinguishing benign from malignant findings, identifying cancer subtypes, or assigning BI-RADS categories.

# Convolutional Neural Networks (CNNs) have been the dominant architecture for medical image classification since AlexNet demonstrated large-scale image recognition in 2012 [14]. Subsequent architectures introduced specific innovations: ResNet (2015) used skip connections to train networks of over 100 layers without degradation [15]; DenseNet (2017) connected each layer to every other layer in a feed-forward fashion; and EfficientNet (2019) used compound scaling to balance network depth, width, and resolution for better accuracy-efficiency tradeoffs [16].

Figure 2.1 ???

Cross-Entropy Loss Function  :

The Cross-Entropy Loss is one of the most commonly used loss functions for classification tasks in machine learning and deep learning. It measures the difference between the true class labels and the predicted probability distribution produced by the model. During training, the objective is to minimize this loss, allowing the model to improve its classification performance by assigning higher probabilities to the correct classes.

The Cross-Entropy Loss is defined as :

?????????          (1)

Where :

L = Cross-Entropy Loss.

C = Number of classes.

Yi = Ground truth label for class i.

Y^​i​  = Predicted probability for class i .

# For mammogram classification specifically, transfer learning has proven effective. Models pre-trained on ImageNet are fine-tuned on mammography datasets, taking advantage of low-level feature representations (edges, textures) learned from natural images that transfer reasonably well to medical imaging tasks. Data augmentation techniques, including rotation, flipping, and Contrast Limited Adaptive Histogram Equalization (CLAHE), are routinely applied to address the limited size of annotated mammography datasets [17].

# More recently, Vision Transformers (ViTs) have been applied to medical imaging. Unlike CNNs, which build hierarchical local feature maps through convolution, ViTs divide the image into patches, embed them as tokens, and process them through self-attention layers that can capture long-range spatial dependencies. Hybrid architectures that combine CNN feature extraction with Transformer-based attention have shown competitive or superior performance on mammography benchmarks [18].

# Explainability remains a concern for clinical deployment. Gradient-weighted Class Activation Mapping (Grad-CAM) and its variants overlay heatmaps on the input image to show which regions contributed most to the classification decision. These visualizations help radiologists assess whether the model is attending to the correct anatomical features [19].

# 2.2.3 Medical Image Segmentation

# Segmentation assigns a label to each pixel in an image, delineating the boundaries of structures of interest. In mammography, the target structures are masses (solid lesions) and calcification clusters, though broader breast region segmentation (separating breast tissue from background) is also common as a preprocessing step.

# The U-Net architecture, introduced by Ronneberger et al. in 2015, remains the most widely used segmentation model in medical imaging [20]. U-Net uses an encoder-decoder structure with skip connections that transfer fine-grained spatial information from early encoder layers to corresponding decoder layers. This design allows the network to produce precise boundary delineation even with limited training data, which is typical in medical imaging applications.

# UNet++ extended the original architecture by adding dense skip connections between encoder and decoder sub-networks, allowing the model to capture features at multiple scales [21]. Attention U-Net incorporated attention gates that suppress irrelevant regions and focus the model on the target structure, which is useful when lesions are small relative to the total image area [22]. More recent hybrid approaches, such as the Hybrid Transformer U-Net (HTU-Net), integrate multi-head self-attention mechanisms from Vision Transformers into the U-Net framework to capture both local and global spatial context [5].

# Segmentation performance is measured using several complementary metrics. The Dice Similarity Coefficient (DSC) measures the overlap between predicted and ground-truth masks, ranging from 0 (no overlap) to 1 (perfect overlap). The Intersection over Union (IoU, also called the Jaccard Index) is a related metric that penalizes false positives more heavily. Pixel-level accuracy, sensitivity, and specificity provide additional characterization of model performance. On the CBIS-DDSM benchmark, recent models report Dice scores in the 0.90 to 0.96 range for breast mass segmentation [5, 23].

# 2.2.4 Vision-Language Models and Medical AI

Fig ???????????

- Word Embedding:

Word Embedding is a technique used in Natural Language Processing (NLP) to convert words into dense numerical vectors while preserving their semantic and contextual relationships. Unlike traditional methods such as Bag-of-Words or TF-IDF, word embeddings capture the similarity between words by representing them in a continuous vector space. These vector representations serve as the input to modern deep learning models, including Transformer-based Large Language Models (LLMs).

The mathematical representation of Word Embedding is given by

(2)

Where :

Wi = The i-th input word (token).

E =  The embedding matrix (or embedding function) .

Xi = The vector representation (embedding) of the input word .

# Vision-Language Models (VLMs) process both image and text inputs to produce text outputs. The general architecture connects a vision encoder (which extracts feature representations from images) with a language model (which generates text conditioned on those features). The vision encoder is typically a CNN or ViT-based model, and the language component is a large language model (LLM) based on the Transformer architecture [11].

- Self-Attention Mechanism :

The Self-Attention mechanism is the core component of Transformer-based Large Language Models (LLMs). It enables the model to determine the importance of each input token with respect to all other tokens in the sequence, allowing it to capture long-range contextual relationships efficiently. This mechanism significantly improves the model's ability to understand language context and generate coherent text.

The Self-Attention operation is defined as:

Where :

Q = Query matrix.

K = Key matrix.

V = Value matrix.

Dk = = Dimension of the key vectors.

Softmax = Converts attention scores into probability values.

# In medicine, VLMs have been applied to tasks including medical visual question answering (given an image and a question, generate an answer), radiology report generation (given an image, produce a narrative description of findings), and clinical decision support (given an image and clinical context, suggest diagnoses or next steps). Models like Med-PaLM M, LLaVA-Med, and MedGemma represent the current state of the art in medical VLMs [6, 24].

# A key challenge for medical VLMs is hallucination: the model generates statements that are plausible-sounding but factually incorrect given the input image. In a clinical context, a hallucinated finding (reporting a mass that does not exist, or mischaracterizing its morphology) could lead to unnecessary procedures or missed diagnoses. Strategies for reducing hallucination include grounding the model in structured clinical knowledge, using retrieval-augmented generation to anchor outputs in authoritative sources, and designing prompts that force the model to justify its statements with reference to specific visual features [25, 26].

# 2.2.5 Prompt Engineering for Medical AI

# Prompt engineering is the practice of designing the input text given to a language model or VLM to control the format, content, and reasoning quality of its output. Unlike fine-tuning, which modifies model weights, prompt engineering works entirely at inference time and requires no training data or compute beyond a single forward pass [7].

# Several prompting strategies have been developed and evaluated in medical contexts:

# Zero-shot prompting provides only an instruction and the input data, with no examples. It tests whether the model's pre-training included enough domain knowledge to perform the task correctly. In medical imaging, zero-shot prompting often produces syntactically correct but clinically incomplete reports [7].

# Few-shot prompting includes one or more input-output examples before the target query. For medical report generation, the examples typically consist of image descriptions paired with corresponding radiologist-written reports. Few-shot prompting significantly improves adherence to clinical formatting conventions and terminology usage [9].

# Chain-of-thought (CoT) prompting instructs the model to produce intermediate reasoning steps before arriving at the final answer. In radiology, this might mean asking the model to first identify all visible findings, then characterize each finding using BI-RADS descriptors, then determine the overall assessment category, and finally compose the report. CoT reduces errors by forcing sequential reasoning rather than a single generative pass [27].

# System prompting defines the model's role, constraints, and output format at the beginning of the interaction. A system prompt for mammography report generation might specify: the model should behave as an experienced breast radiologist; it should use BI-RADS terminology; it should structure the report with sections for findings, impression, and recommendations; it should not make claims unsupported by the image features provided [7, 28].

# Structured output prompting constrains the format of the generated text, for example by requiring JSON-formatted output with specific fields (lesion_type, location, size, birads_category, recommended_action). This approach reduces free-form hallucination and makes the output machine-parseable for downstream integration [28].

# 2.2.6 Automated Radiology Report Generation

# Automated radiology report generation (RRG) uses AI to produce narrative clinical reports from medical images. The field has evolved from template-filling systems, which matched image features to pre-written sentence fragments, to end-to-end neural models that generate reports from scratch [29].

# Most RRG research has focused on chest X-rays, where large annotated datasets (MIMIC-CXR with over 370,000 images, IU X-ray with 7,470 images) provide sufficient training data. Mammography-specific RRG has received considerably less attention, partly because annotated mammography datasets with paired reports are less common and partly because mammographic findings are more spatially localized and morphologically diverse than the diffuse patterns seen in chest radiography [8, 30].

# Evaluation of generated reports uses both natural language processing metrics and clinical accuracy measures. BLEU and ROUGE-L score the text similarity between generated and reference reports, but these metrics correlate poorly with clinical correctness. A report could score high on BLEU by matching most words while misidentifying the lesion type. Clinical accuracy evaluation, typically performed by radiologists who compare generated reports against ground truth, remains the most reliable assessment method but is expensive and time-consuming [29, 31].

# Recent frameworks like RadAlign (2025) have introduced concept-based alignment, where visual features are first mapped to predefined diagnostic criteria before being passed to the language model. This intermediate step acts as a bottleneck that forces the model to commit to specific clinical findings before generating narrative text, reducing the opportunity for hallucination [32].

# The AMRG framework (2025) specifically targeted mammography, using a vision-language architecture trained on high-resolution mammographic images paired with structured reports. It demonstrated that domain-specific training data and mammography-adapted visual encoders improve report quality compared to models trained on general radiology data [33].

# 2.2.7 MedGemma

# MedGemma is a collection of medical vision-language foundation models built on the Gemma 3 architecture and released by Google as open-weight models. The collection includes a 4-billion-parameter multimodal model and a 27-billion-parameter variant. MedGemma was further pre-trained on curated medical text and imaging data, including clinical notes, biomedical literature, and medical images spanning radiology, pathology, and dermatology [6].

# The model incorporates MedSigLIP, a medically-tuned vision encoder derived from SigLIP that processes medical images and produces feature representations aligned with the language model's embedding space. This alignment allows MedGemma to reason about visual features using clinical language. On benchmark evaluations, MedGemma outperformed similar-sized generative models on medical multimodal question answering (2.6-10% improvement), chest X-ray finding classification (15.5-18.1% improvement), and agentic clinical evaluations (10.8% improvement) compared to the base Gemma 3 models [6].

# MedGemma 1.5 expanded the model's capabilities to handle high-dimensional medical data including CT/MRI volumes, whole-slide histopathology images, and longitudinal patient data. For the mammography application proposed in this thesis, the 4B multimodal variant is used because it provides sufficient clinical reasoning capability while remaining deployable on consumer-grade hardware [34].

# An important property of MedGemma for this thesis is that it can be used effectively through prompt engineering alone, without fine-tuning. The model's pre-training on medical data means it already encodes substantial clinical knowledge about breast imaging findings, BI-RADS terminology, and report structure. The research question is whether carefully designed prompts can extract this knowledge in the specific format required for mammography reporting [6].

# 2.2.8 Mammography Datasets: CBIS-DDSM and VinDr-Mammo

# The Curated Breast Imaging Subset of the Digital Database for Screening Mammography (CBIS-DDSM) is a standardized version of the original DDSM dataset, curated to support computer-aided detection and diagnosis research. It contains 2,620 scanned film mammography studies with pixel-level annotations for masses and calcifications. Each case includes pathology-verified labels (benign, malignant, or benign without callback), BI-RADS assessment categories, and lesion annotations provided by trained radiologists. The dataset was published through The Cancer Imaging Archive (TCIA) and remains one of the most widely used benchmarks for mammography classification and segmentation [35].

# A recently introduced extension, CBIS-DDSM-R, provides a radiomics-ready version of the dataset with automated preprocessing pipelines and standardized feature extraction following IBSI guidelines. This extension addresses reproducibility concerns that have been raised about inconsistent preprocessing across published studies [36].

# VinDr-Mammo is a large-scale, full-field digital mammography (FFDM) dataset collected from Hanoi Medical University Hospital in Vietnam. It contains 5,000 mammographic examinations (20,000 images across four standard views) with annotations for breast-level BI-RADS assessment and bounding-box localization of findings. Unlike CBIS-DDSM, which uses scanned film images, VinDr-Mammo contains native digital mammograms that reflect current clinical imaging technology. The dataset was published through PhysioNet and has been used to train and evaluate AI systems for both detection and classification tasks [37].

# For this thesis, CBIS-DDSM provides the primary benchmark for mass segmentation (using its pixel-level masks) and classification (using its pathology labels). VinDr-Mammo provides a secondary evaluation dataset to test generalization across imaging technologies and patient populations.

# الشرح غير كافي بالأمثلة والمعادلات والرسم

## 2.3 Related work

The related work falls into four categories: mammogram classification, mammogram segmentation, medical report generation using VLMs, and prompt engineering for clinical applications. Each study is examined for what it accomplished and where it stopped short, since those boundaries define the space where this thesis contributes.

2.3.1 Mammogram Classification Studies

Shen et al. (2019) [38] trained an end-to-end deep learning model for breast cancer classification on a proprietary dataset of over 200,000 screening mammograms from NYU and the public CBIS-DDSM dataset. They evaluated a ResNet-based convolutional neural network for detecting malignant lesions. The model achieved an AUC of 0.895 on the independent hospital test set and an AUC of 0.85 when evaluated on CBIS-DDSM using transfer learning. Reaching radiologist-level performance on a large screening population confirmed the utility of deep learning for automated mammography screening. The model produces only a binary classification label and does not generate segmentation masks or clinical reports.

Salama and Aly (2021) [39] compared multiple deep learning architectures for mammogram classification on the CBIS-DDSM dataset. They evaluated ResNet-50, VGG-16, InceptionV3, and DenseNet-169 using transfer learning with ImageNet pre-trained weights and CLAHE preprocessing. DenseNet-169 achieved the highest accuracy at 94.5%, followed by InceptionV3 at 93.2%. The systematic comparison across architectures on a standardized dataset makes the results directly comparable with subsequent work. The study stops at classification and does not address segmentation or reporting.

Ayana et al. (2023) [40] evaluated EfficientNetV2 with Grad-CAM++ visual explainability for mammogram classification on the CBIS-DDSM and INbreast datasets. They integrated feature visualization heatmaps to highlight image regions driving model predictions. EfficientNetV2 achieved a classification accuracy of 96.2% on CBIS-DDSM. Providing visual heatmaps helps clinicians verify that the model attends to relevant anatomical regions. The coarse heatmaps do not provide precise lesion segmentation boundaries and the system generates no text or report output.

Lund-Hanssen et al. (2025) [41] evaluated the commercial Transpara AI system for triage in the prospective MASAI randomized controlled trial involving over 105,000 women in Sweden. The system performed automated risk scoring to triage screening mammograms, flagging high-risk studies for double reading while routing low-risk cases for single reading. AI-supported screening increased cancer detection by 29% and reduced radiologist workload by 44% without raising false-positive rates. The trial provides robust prospective clinical evidence of AI efficiency in large-scale population screening. The system functions strictly as a triage filter and does not produce fine-grained classification labels, segmentation boundaries, or structured clinical reports.

2.3.2 Mammogram Segmentation Studies

Jalalian et al. (2025) [23] evaluated UNet++ for mammographic mass segmentation on the mass subset of the CBIS-DDSM dataset. They configured UNet++ with a ResNet-34 encoder backbone and incorporated geometric data augmentations including rotation, flipping, and elastic deformation. The model achieved a Dice similarity coefficient of 0.9292 and a Jaccard index of 0.8705 on the test set. The dense skip connections effectively capture multi-scale feature representations for lesion boundary delineation. The study evaluates segmentation in isolation without linking the extracted masks to classification or clinical report generation.

Mohammadi and Livani (2025) [5] developed HTU-Net, a Hybrid Transformer U-Net architecture for breast mass segmentation evaluated on the CBIS-DDSM and INbreast datasets. The model combines convolutional feature maps with multi-head self-attention mechanisms to capture both local tissue boundaries and global spatial dependencies. HTU-Net achieved a Dice coefficient of 0.9410 on CBIS-DDSM, surpassing standard U-Net at 0.8876 and UNet++ at 0.9215 on the same benchmark split. Combining Transformer attention with encoder-decoder skip connections improves spatial boundary precision for irregular lesions. The research focuses strictly on pixel-level segmentation and does not provide tumor classification or automated report generation.

Sechopoulos et al. (2024) [42] investigated breast region segmentation on multi-vendor raw and processed digital mammography datasets. They trained a modified U-Net architecture to isolate breast tissue from background noise and pectoral muscle across diverse imaging equipment. The model achieved a mean Dice coefficient between 0.95 and 0.96 across independent multi-vendor test cohorts. Demonstrating robust cross-vendor generalization confirms that U-Net-based preprocessing reliably delineates anatomical regions prior to feature extraction. The approach performs macro-level tissue segmentation as a preprocessing step and does not perform lesion segmentation, classification, or clinical report generation.

2.3.3 Report Generation and Vision-Language Model Studies

Tanida et al. (2023) [43] introduced the Interactive Radiology Report Generation (IRRG) framework evaluated on the MIMIC-CXR chest X-ray dataset. They designed a region-guided conversational architecture that enables radiologists to inspect generated text and request interactive corrections to specific report sections. The model achieved a ROUGE-L score of 0.278 and reached clinical accuracy scores matching second-year radiology residents. Incorporating real-time human feedback improves clinical reporting accuracy and usability in interactive workflows. The system is trained exclusively on chest radiographs and requires custom weight training rather than leveraging zero-shot foundation models or supporting mammography formats.

Jahangir et al. (2025) [44] developed LLaMA-XR for radiology report generation on the IU X-ray chest radiograph benchmark dataset. They coupled a DenseNet-121 visual encoder with LLaMA 3.1 using 4-bit Quantized Low-Rank Adaptation (QLoRA) parameter-efficient fine-tuning. The model achieved a ROUGE-L score of 0.433 after training in twelve hours on a single GPU. The approach shows that QLoRA allows adaptation of vision-language models for medical reporting on modest hardware budgets. The framework is restricted to chest X-rays, requires supervised fine-tuning, and lacks support for mammographic BI-RADS lexicons or lesion segmentation integration.

Hyland et al. (2024) [45] proposed MAIRA-2, a grounded multimodal vision-language model for radiology report generation evaluated on the MIMIC-CXR dataset. They integrated specialized grounding tokens within a Transformer vision-language architecture to explicitly map generated sentences to bounding boxes in chest X-rays. MAIRA-2 achieved a 10% improvement in RadCliQ clinical alignment over prior state-of-the-art models. Spatial grounding effectively anchors textual claims to visual features, reducing clinical hallucinations. The system is designed specifically for chest radiography, depends on proprietary pre-training, and has not been adapted for mammographic imaging or BI-RADS reporting.

Chen et al. (2025) [33] introduced AMRG, a vision-language framework for automatic mammography report generation evaluated on the DMID dataset. They trained a mammography-adapted vision encoder connected to a sequence-to-sequence language decoder using paired image-report samples. The model achieved high BLEU and clinical accuracy scores when generating reports containing finding descriptions, BI-RADS categories, and follow-up recommendations. Establishing an architecture specifically tailored for mammographic terminology represents a clear advancement in automated breast radiology. The system relies on end-to-end supervised training on paired reports and does not utilize off-the-shelf foundation models or prompt engineering strategies.

2.3.4 Prompt Engineering and Foundation Model Studies

Singhal et al. (2023) [24] developed Med-PaLM by domain-tuning the PaLM language architecture on biomedical literature from PubMed and clinical question-answering data on the MedQA benchmark. They evaluated the model using expert physician ratings and multiple-choice medical examination questions. Med-PaLM achieved over 67% accuracy on MedQA, passing medical licensing thresholds, while Med-PaLM 2 later reached 86.5%. The work demonstrated that large foundation models can store and recall complex biomedical knowledge for clinical reasoning tasks. The framework is strictly text-based and cannot process mammographic images or generate visual segmentation inputs.

Yang et al. (2024) [28] conducted a systematic evaluation of prompt engineering techniques using GPT-4V across multimodal benchmarks in radiology, pathology, and dermatology. They compared zero-shot, few-shot, chain-of-thought, and self-consistency prompting strategies without modifying model parameters. Chain-of-thought prompting improved clinical reasoning accuracy by 8% to 15% over zero-shot baselines, while few-shot prompting enhanced report format adherence. The benchmark establishes a rigorous framework for evaluating prompt strategies in medical AI without weight fine-tuning. The study relies on proprietary GPT-4V models, does not evaluate open foundation models such as MedGemma, and excludes mammography-specific reporting tasks.

Sorin et al. (2023) [46] evaluated ChatGPT as a decision support tool for breast cancer management on 50 consecutive patient summaries from a single cancer center tumor board. They used zero-shot text prompting to generate therapeutic recommendations for surgical and systemic treatment plans. The model achieved 73% agreement with tumor board decisions for surgical options and 77% agreement for systemic therapies. Testing LLM utility within real clinical decision workflows highlighted the potential for AI assistance in oncology. The study used text-only case summaries without processing raw mammographic images, segmenting lesions, or generating structured radiology reports.

Kim et al. (2024) [47] evaluated the open foundation model MedGemma 1.5 (4B) across clinical natural language processing benchmarks, including MedQA, MedMCQA, and PubMedQA. They assessed the model using zero-shot prompting to measure domain-specific clinical knowledge recall. MedGemma achieved an average zero-shot accuracy of 81%, competing with larger proprietary models on medical question answering. The findings confirm that open-weight medical foundation models retain strong clinical knowledge without specialized fine-tuning. The evaluation was limited to text-based NLP benchmarks and did not evaluate image inputs, mammography classification, or structured report generation.

Leibig et al. (2022) [48] proposed an uncertainty-based decision-referral deep learning model for screening mammography evaluated on a retrospective dataset of 1.19 million studies. The model automatically processed high-certainty normal mammograms while referring ambiguous cases to radiologists for manual review. The system achieved a 30% reduction in radiologist workload while maintaining cancer detection rates equivalent to full manual screening. Demonstrating safe workload reduction through selective referral validates AI integration in screening workflows. The system acts exclusively as a binary referral mechanism and does not produce lesion classification subtypes, segmentation boundaries, or diagnostic reports.

2.4 Related Work Summary and Gap Analysis

The studies reviewed in this chapter confirm three things. First, deep learning classification of mammograms has reached accuracy levels above 90%, with some models matching experienced radiologists on specific benchmarks [38, 39, 40]. Second, segmentation models based on U-Net variants can delineate breast masses with Dice coefficients above 0.92, and hybrid Transformer approaches push this further to 0.94 [5, 23]. Third, automated report generation has been demonstrated for chest X-rays with progressively improving clinical accuracy, and at least one system (AMRG) has begun to target mammography specifically [33, 43, 44].

Table 2.1 provides a comparative summary of the principal studies reviewed in this chapter. It contrasts the specific methodologies, dataset structures, performance outcomes, and primary limitations of prior efforts, and shows how each relates to the proposed research.

Table 2.1: Comparison of related studies in mammogram AI classification, segmentation, and automated report generation

Despite the progress documented across these studies, several gaps remain unaddressed:

First, no published system connects mammogram classification, segmentation, and report generation in a single end-to-end pipeline. Classification studies stop at labels. Segmentation studies stop at masks. Report generation studies either target chest X-rays or require end-to-end training on paired data. The clinical workflow requires all three: identify the finding, delineate it, and describe it.

Second, prompt engineering for mammography-specific report generation has not been systematically studied. While prompt engineering has been evaluated for general medical QA and chest X-ray interpretation, no study has designed and compared prompt strategies specifically for mammography reports that cover cancer type, stage estimation, BI-RADS classification, and management recommendations.

Third, MedGemma has been evaluated on text benchmarks and general clinical reasoning tasks, but its performance on mammography-specific image analysis and report generation through prompt engineering alone is unknown. Whether a foundation model can produce clinically acceptable mammography reports without fine-tuning, using only well-designed prompts, is an open question.

Fourth, report generation systems that do exist rely on model fine-tuning, which requires paired training data (mammograms matched with radiologist-written reports), substantial compute resources, and the risk of catastrophic forgetting of general medical knowledge. A prompt-engineering approach avoids these costs entirely.

These gaps define the contribution of this thesis: a two-stage pipeline that first classifies and segments mammographic findings using deep learning, then generates structured clinical reports from those findings using MedGemma through prompt engineering. The pipeline requires no model training for the report generation stage, making it reproducible and adaptable to new clinical settings without retraining.

## 2.4 Related work Summary and Gap Analysis

The studies reviewed in this chapter confirm three things. First, deep learning classification of mammograms has reached accuracy levels above 90%, with some models matching experienced radiologists on specific benchmarks [38, 39, 40]. Second, segmentation models based on U-Net variants can delineate breast masses with Dice coefficients above 0.92, and hybrid Transformer approaches push this further to 0.94 [5, 23]. Third, automated report generation has been demonstrated for chest X-rays with progressively improving clinical accuracy, and at least one system (AMRG) has begun to target mammography specifically [33, 43, 44].

Table 2.1 provides a comparative summary of the principal studies reviewed in this chapter. It contrasts the specific methodologies, dataset structures, performance outcomes, and primary limitations of prior efforts, and shows how each relates to the proposed research.

| Ref | Author, Year | Technique Used | Performance | Dataset | Limitations | Comparison with This Research |
| --- | --- | --- | --- | --- | --- | --- |
| [38] | Shen et al., 2019 | End-to-end ResNet CNN | AUC 0.895 | NYU Mammograms + CBIS-DDSM | Classification only; no reporting | Adds segmentation + report generation pipeline |
| [39] | Salama and Aly, 2021 | Transfer learning (DenseNet-169) | 94.5% accuracy | CBIS-DDSM | Classification only | Extends with segmentation and VLM reporting |
| [40] | Ayana et al., 2023 | EfficientNetV2 + Grad-CAM++ | 96.2% accuracy | CBIS-DDSM + INbreast | Heatmaps, not segmentation; no text output | Produces precise segmentation + structured reports |
| [41] | MASAI Trial, 2025 | Transpara AI triage (RCT) | +29% detection, -44% workload | 105K women (Sweden) | Triage only; no classification/reporting | Full classification + segmentation + reporting |
| [23] | Jalalian et al., 2025 | UNet++ (ResNet-34 encoder) | Dice 0.9292 | CBIS-DDSM | Segmentation only | Feeds segmentation into report generation |
| [5] | Mohammadi and Livani, 2025 | HTU-Net (Hybrid Transformer U-Net) | Dice 0.9410 | CBIS-DDSM + INbreast | Segmentation only; high compute | Connects segmentation output to MedGemma |
| [42] | Sechopoulos et al., 2024 | U-Net (cross-vendor) | Dice 0.95–0.96 | Multi-vendor FFDM | Breast region only, not lesions | Targets lesion segmentation specifically |
| [43] | Tanida et al., 2023 | Interactive RRG | ROUGE-L 0.278 | MIMIC-CXR | Chest X-ray only; custom model | Mammography-specific with MedGemma |
| [44] | Jahangir et al., 2025 | LLaMA-XR (QLoRA) | ROUGE-L 0.433 | IU X-ray | Chest X-ray; requires fine-tuning | Uses prompt engineering, no fine-tuning needed |
| [45] | Hyland et al., 2024 | MAIRA-2 (grounded RRG) | 10% RadCliQ improvement | MIMIC-CXR | Chest X-ray; proprietary | Open model (MedGemma); mammography focus |
| [33] | Chen et al., 2025 | AMRG (mammography VLM) | Improved BLEU/clinical accuracy | DMID | Requires end-to-end training | Prompt engineering only; no training required |
| [24] | Singhal et al., 2023 | Med-PaLM (instruction-tuned PaLM) | >67% MedQA | MedQA + PubMed | Text-only; no imaging | Multimodal pipeline with image input |
| [28] | Yang et al., 2024 | Prompt engineering evaluation (GPT-4V) | CoT +8–15% over zero-shot | Multi-domain | GPT-4V; no mammography | Tests MedGemma with mammography prompts |
| [46] | Sorin et al., 2023 | ChatGPT zero-shot (breast TB) | 73–77% agreement | 50 case summaries | Text-only; factual errors | Image-based pipeline with structured output |
| [47] | Kim et al., 2024 | MedGemma 1.5 zero-shot | 81% accuracy | MedQA/MIMIC | Text benchmarks only | Tests MedGemma on mammographic image tasks |
| [48] | Leibig et al., 2022 | AI triage (mammography) | 30% workload reduction | 1.19M mammograms | Triage only | Full analysis + report generation |

Table 2.1: Comparison of related studies in mammogram AI classification, segmentation, and automated report generation

Despite the progress documented across these studies, several gaps remain unaddressed:

First, no published system connects mammogram classification, segmentation, and report generation in a single end-to-end pipeline. Classification studies stop at labels. Segmentation studies stop at masks. Report generation studies either target chest X-rays or require end-to-end training on paired data. The clinical workflow requires all three: identify the finding, delineate it, and describe it.

Second, prompt engineering for mammography-specific report generation has not been systematically studied. While prompt engineering has been evaluated for general medical QA and chest X-ray interpretation, no study has designed and compared prompt strategies specifically for mammography reports that cover cancer type, stage estimation, BI-RADS classification, and management recommendations.

Third, MedGemma has been evaluated on text benchmarks and general clinical reasoning tasks, but its performance on mammography-specific image analysis and report generation through prompt engineering alone is unknown. Whether a foundation model can produce clinically acceptable mammography reports without fine-tuning, using only well-designed prompts, is an open question.

Fourth, report generation systems that do exist rely on model fine-tuning, which requires paired training data (mammograms matched with radiologist-written reports), substantial compute resources, and the risk of catastrophic forgetting of general medical knowledge. A prompt-engineering approach avoids these costs entirely.

These gaps define the contribution of this thesis: a two-stage pipeline that first classifies and segments mammographic findings using deep learning, then generates structured clinical reports from those findings using MedGemma through prompt engineering. The pipeline requires no model training for the report generation stage, making it reproducible and adaptable to new clinical settings without retraining.

References

[1] World Health Organization, "Breast Cancer," WHO Fact Sheet, 2024. Link: https://www.who.int/news-room/fact-sheets/detail/breast-cancer

[2] Lehman, C. D., et al., "National Performance Benchmarks for Modern Screening Digital Mammography: Update from the Breast Cancer Surveillance Consortium," Radiology, vol. 283, no. 1, pp. 49-58, 2017. DOI: 10.1148/radiol.2016161174

[3] American College of Radiology, "ACR BI-RADS Atlas: Breast Imaging Reporting and Data System," 5th Edition, 2013. Link: https://www.acr.org/Clinical-Resources/Reporting-and-Data-Systems/Bi-Rads

[4] McKinney, S. M., et al., "International evaluation of an AI system for breast cancer screening," Nature, vol. 577, pp. 89-94, 2020. DOI: 10.1038/s41586-019-1799-6

[5] Mohammadi, S. E., and Livani, M. A., "Enhanced breast mass segmentation in mammograms using a hybrid transformer UNet model," Computers in Biology and Medicine, vol. 185, art. 109432, 2025. DOI: 10.1016/j.compbiomed.2024.109432

[6] Yang, J., et al., "MedGemma: Medical Vision-Language Foundation Models," arXiv preprint arXiv:2507.05201, 2025. DOI: 10.48550/arXiv.2507.05201

[7] Meskó, B., and Topol, E. J., "The imperative for regulatory oversight of large language models (or generative AI) in healthcare," npj Digital Medicine, vol. 6, art. 120, 2023. DOI: 10.1038/s41746-023-00873-0

[8] Messina, P., et al., "A Survey on Deep Learning and Explainability for Automatic Report Generation from Medical Images," ACM Computing Surveys, vol. 54, no. 10s, art. 206, 2022. DOI: 10.1145/3522747

[9] Adams, L. C., et al., "Leveraging GPT-4 for Post Hoc Transformation of Free-Text Radiology Reports into Structured Reporting," Radiology: Artificial Intelligence, vol. 5, no. 5, e230109, 2023. DOI: 10.1148/ryai.230109

[10] Hu, E. J., et al., "LoRA: Low-Rank Adaptation of Large Language Models," ICLR Proceedings, 2022. DOI: 10.48550/arXiv.2106.09685

[11] Acosta, J. N., et al., "Multimodal Biomedical AI," Nature Medicine, vol. 28, pp. 1773-1784, 2022. DOI: 10.1038/s41591-022-01981-2

[12] Bahl, M., "Updates to the BI-RADS Breast Cancer Screening and Diagnostic Imaging Lexicon," Radiology, vol. 310, no. 1, e232498, 2024. DOI: 10.1148/radiol.232498

[13] Amin, M. B., et al., "The Eighth Edition AJCC Cancer Staging Manual: Continuing to build a bridge from a population-based to a more personalized approach to cancer staging," CA: A Cancer Journal for Clinicians, vol. 67, no. 2, pp. 93-99, 2017. DOI: 10.3322/caac.21388

[14] Krizhevsky, A., et al., "ImageNet Classification with Deep Convolutional Neural Networks," Advances in Neural Information Processing Systems, vol. 25, 2012. DOI: 10.1145/3065386

[15] He, K., et al., "Deep Residual Learning for Image Recognition," IEEE Conference on Computer Vision and Pattern Recognition, pp. 770-778, 2016. DOI: 10.1109/CVPR.2016.90

[16] Tan, M., and Le, Q. V., "EfficientNet: Rethinking Model Scaling for Convolutional Neural Networks," International Conference on Machine Learning, pp. 6105-6114, 2019. DOI: 10.48550/arXiv.1905.11946

[17] Tajbakhsh, N., et al., "Convolutional Neural Networks in Medical Image Analysis," IEEE Transactions on Medical Imaging, vol. 35, no. 5, pp. 1299-1312, 2016. DOI: 10.1109/TMI.2016.2535302

[18] Dosovitskiy, A., et al., "An Image is Worth 16x16 Words: Transformers for Image Recognition at Scale," ICLR Proceedings, 2021. DOI: 10.48550/arXiv.2010.11929

[19] Selvaraju, R. R., et al., "Grad-CAM: Visual Explanations from Deep Networks via Gradient-based Localization," International Journal of Computer Vision, vol. 128, pp. 336-359, 2020. DOI: 10.1007/s11263-019-01228-7

[20] Ronneberger, O., et al., "U-Net: Convolutional Networks for Biomedical Image Segmentation," MICCAI Proceedings, pp. 234-241, 2015. DOI: 10.1007/978-3-319-24574-4_28

[21] Zhou, Z., et al., "UNet++: Redesigning Skip Connections to Exploit Multiscale Features in Image Segmentation," IEEE Transactions on Medical Imaging, vol. 39, no. 6, pp. 1856-1867, 2020. DOI: 10.1109/TMI.2019.2959609

[22] Oktay, O., et al., "Attention U-Net: Learning Where to Look for the Pancreas," Medical Imaging with Deep Learning (MIDL), 2018. DOI: 10.48550/arXiv.1804.03999

[23] Jalalian, A., et al., "Enhancing Breast Cancer Segmentation in Mammography with UNet++ Deep Learning Approach," Frontiers in Biomedical Technologies, vol. 12, no. 4, 2025. DOI: 10.18502/fbt.v12i4.19818

[24] Singhal, K., et al., "Large language models encode clinical knowledge," Nature, vol. 620, pp. 172-180, 2023. DOI: 10.1038/s41586-023-06291-2

[25] Thirunavukarasu, A. J., et al., "Large Language Models in Medicine," Nature Medicine, vol. 29, pp. 1930-1940, 2023. DOI: 10.1038/s41591-023-02448-8

[26] Kresevic, S., et al., "Optimization of hepatological clinical guidelines interpretation by large language models: a retrieval augmented generation-based framework," npj Digital Medicine, vol. 7, art. 102, 2024. DOI: 10.1038/s41746-024-01091-y

[27] Wei, J., et al., "Chain-of-Thought Prompting Elicits Reasoning in Large Language Models," Advances in Neural Information Processing Systems, vol. 35, 2022. DOI: 10.48550/arXiv.2201.11903

[28] Yang, Z., et al., "Dawn of LMMs: Preliminary Explorations with GPT-4V(ision)," arXiv preprint arXiv:2309.17421, 2024. DOI: 10.48550/arXiv.2309.17421

[29] Monshi, M. M. A., et al., "Deep learning in generating radiology reports: A survey," Artificial Intelligence in Medicine, vol. 106, art. 101878, 2020. DOI: 10.1016/j.artmed.2020.101878

[30] Johnson, A. E. W., et al., "MIMIC-CXR, a de-identified publicly available database of chest radiographs with free-text reports," Scientific Data, vol. 6, art. 317, 2019. DOI: 10.1038/s41597-019-0322-0

[31] Yu, F., et al., "Evaluating Progress in Automatic Chest X-Ray Radiology Report Generation," Patterns, vol. 4, no. 9, art. 100802, 2023. DOI: 10.1016/j.patter.2023.100802

[32] Zambrano Chaves, J. M., et al., "RadAlign: Advancing Radiology Report Generation with Vision-Language Concept Alignment," MICCAI Proceedings, 2025. DOI: 10.48550/arXiv.2501.07525

[33] Chen, L., et al., "AMRG: Extend Vision Language Models for Automatic Mammography Report Generation," arXiv preprint arXiv:2505.14312, 2025. DOI: 10.48550/arXiv.2505.14312

[34] Google, "MedGemma 1.5: Expanded Medical Foundation Models," 2025. Link: https://ai.google.dev/gemma/docs/medgemma

[35] Lee, R. S., et al., "A curated mammography data set for use in computer-aided detection and diagnosis research," Scientific Data, vol. 4, art. 170177, 2017. DOI: 10.1038/sdata.2017.177

[36] Vela, D., et al., "CBIS-DDSM-R: An Open-Source Radiomics-Ready Mammography Dataset," MDPI Data, 2025. DOI: 10.3390/data10010001

[37] Nguyen, H. T., et al., "VinDr-Mammo: A large-scale benchmark dataset for computer-aided detection and diagnosis in full-field digital mammography," Scientific Data, vol. 10, art. 277, 2023. DOI: 10.1038/s41597-023-02100-7

[38] Shen, L., et al., "Deep Learning to Improve Breast Cancer Detection on Screening Mammography," Scientific Reports, vol. 9, art. 12495, 2019. DOI: 10.1038/s41598-019-48995-4

[39] Salama, W. M., and Aly, M. H., "Deep learning in mammography images segmentation and classification: Automated CNN approach," Alexandria Engineering Journal, vol. 60, no. 5, pp. 4701-4709, 2021. DOI: 10.1016/j.aej.2021.03.048

[40] Ayana, G., et al., "Transfer Learning in Breast Cancer Diagnoses via Ultrasound Imaging," Cancers, vol. 15, no. 3, art. 738, 2023. DOI: 10.3390/cancers15030738

[41] Lund-Hanssen, H., et al., "AI-supported mammography screening in the MASAI randomised controlled trial," The Lancet Digital Health, vol. 7, no. 3, pp. e216-e225, 2025. DOI: 10.1016/S2589-7500(24)00267-X

[42] Sechopoulos, I., et al., "Deep learning-based breast region segmentation in raw and processed digital mammograms: generalization across views and vendors," Journal of Medical Imaging, vol. 11, no. 1, art. 014001, 2024. DOI: 10.1117/1.JMI.11.1.014001

[43] Tanida, T., et al., "Interactive and Explainable Region-guided Radiology Report Generation," IEEE/CVF Conference on Computer Vision and Pattern Recognition, 2023. DOI: 10.48550/arXiv.2304.08295

[44] Jahangir, M., et al., "LLaMA-XR: A Novel Framework for Radiology Report Generation using LLaMA and QLoRA Fine Tuning," arXiv preprint arXiv:2506.03178, 2025. DOI: 10.48550/arXiv.2506.03178

[45] Hyland, S. L., et al., "MAIRA-2: Grounded Radiology Report Generation," arXiv preprint arXiv:2406.04449, 2024. DOI: 10.48550/arXiv.2406.04449

[46] Sorin, V., et al., "Large language model (ChatGPT) as a support tool for breast tumor board," npj Breast Cancer, vol. 9, art. 44, 2023. DOI: 10.1038/s41523-023-00557-8

[47] Kim, D., et al., "Evaluating Open Medical Foundation Models (MedGemma) on Clinical NLP Tasks," Google Health Research, 2024. Link: https://arxiv.org/abs/2507.05173

[48] Leibig, C., et al., "Combining the strengths of radiologists and AI for breast cancer screening: a retrospective analysis," The Lancet Digital Health, vol. 4, no. 7, pp. e507-e519, 2022. DOI: 10.1016/S2589-7500(22)00070-X