“The Role of IoT in Monitoring Patients with Diabetes in COVID-19”

Research Methodology

Prepared By

Name: Mohammed Ayidh Almalki                         ID No. 251002537

Submitted in fulfillment of the requirements for the degree Master of Science in Artificial Intelligence

At

Collage of Informatics

Midocean University

UAE

Supervisor Name: Dr. Amjad Qataish

Collage of Informatics, Midocean University

Project Methodology

- Data Collection

  - Utilize multimodal sensor data from diabetic patients, including continuous glucose monitors, pulse oximeters, heart rate, and temperature sensors.

  - Integrate diversity by matching clinical partner registries with public datasets (e.g., PhysioNet).

  - Ensure all clinical data is de-identified and privacy concerns are met through training in a federated learning function

- Data Processing :

  - Synchronize sensor streams and resample at a consistent frequency.

  - Implement noise reduction strategies using Matlab Kalman filters and/or median smoothing.

  - Impute missing values using KNN-type latent based techniques.

  - Normalize data against the patient’s baseline.

  - Create sliding windows with extracted features, such as z-scores with EWMA interval trend indicators and rate-of-change indicators

- Model / Method Selection:

  - Model: A lightweight 1D-CNN + LSTM capable of running on edge devices (e.g., Raspberry Pi) with inference latency less than 100 ms.

  - Personalization: Patient-specific alerts through adaptive dynamic thresholding of z-scores and EWMA values.

  - Anomaly Detection: When data and labels permit, an autoencoder will provide non-discriminatory anomaly detection.

  - Robustness: Utilize federated learning and XGBoost to create ensembles, enhancing robustness across institutional strategies and making the system "anti-fragile".

  - Explainable Alerts: Alerts will include an additional level of explanation via clinical usage by generating explainable alerts through SHAP

- Testing and Evaluation :

The system will be evaluated based on the following metrics:

  - Prediction Performance: AUROC (Area Under the Receiver Operating Characteristic) and AUPRC (Area Under the Precision-Recall Curve).

  - False Alarms: Measured per patient-day.

  - Time-to-Event Lead Times.

  - Latency: Measured on edge devices to ensure real-time feasibility (<100ms).

  - Ablation Studies: Compare static thresholds, dynamic thresholds, and hybrid AI models.

  - Robustness: Assessment on noisy and missing data.

  - Clinician Feedback: Surveys to evaluate usefulness and interpretability of alerts

Project Timeline :

  - Weeks 1–6: Data Collection and Preparation

  - Weeks 7–8: Model Building and Training

  - Weeks 9–10: Testing and Evaluation

  - Week 11: Final Adjustments and Reporting